## Slide 1
Brendan Casey, Fermilab
DESY Particle and Astroparticle Physics Colloquium
May 4, 2021
First results from the Fermilab Muon g-2 Experiment

## Slide 2: Particle Properties
Elementary particles talk to each other through loops and boxes.
This allows us to learn information about new particles by making precision measurements of the properties of old particles.
b
d
b
t
t
W
W
d
ARGUS Collab, PLB 192, 245 (1987)
Erler, Freitas, PDG Review (2020)
The Higgs looks like the Standard Model Higgs

## Slide 3: The g-factor
The g-factor relates a particle’s magnetic moment to its intrinsic spin in units of the Bohr Magnetron
The classical or non-relativistic quantum mechanics prediction is g=1
For a simple classical system:
m, q
r
Magnetic moment:
Angular momentum:
Ratio:

## Slide 4: The muon’s g-factor
gm(predicted)
= 2.00
Dirac’s equation in a weak magnetic field
2 comes from the extra degrees of freedom associated with antimatter
BJ, Drell
Schwinger:
Kinoshita et. al:
2331
QED
83
QCD
622
EW
Stokinger et. al:

## Slide 5: The muon’s g-factor
gm(predicted)
= 2.00
2331
QED
83
QCD
622
EW
gm(measured)
= 2.00233184182
Large improvements over 4 decades of experiments at Columbia, CERN, and Brookhaven led to the current measured value (as of a month ago)
Brookhaven E821 Collaboration
(076)KNT
(127)BNL

## Slide 6: The muon g-2 discrepancy
Measured – predicted g-2:
Electroweak contribution to g-2:
Discrepancy is almost twice as large as electroweak contribution!
This must be something big!
The mystery:
If this is something that’s bigger than the weak force, why didn’t we see new particles at
UA1, UA2, LEP, LEP-II, SLD, the Tevatron,
or the LHC?

## Slide 7: The muon g-2 discrepancy
gm(predicted) = 2.00233183622
gm(measured) = 2.00233184182
QED
QCD
EW
Next feature of the discrepancy that pops out is it starts in the digits dominated by QCD.
So maybe this is ‘simply’ an underestimate of the QCD contribution.
(we’ve all seen anomalies that wound up being underestimates of QCD)
The muon g-2 Theory Initiative
Group of 132 theorists and experimentalists that worked from 2017-2020 to put together a major update of the predicted value of g-2
Produced a 196-page white paper including 824 references
arxiv:2006:04822

## Slide 8: Leading order QCD: HVP
The leading order QCD contribution comes from Hadronic Vacuum Polarization
This can be taken directly from data by the measurement of the differential cross section
The assumptions are analyticity and the optical theorem.
This is considered the gold standard and the Muon g-2 Theory initiative only uses this data in their prediction.
The scaling puts significant weight to the two-pion low energy region around the r and w but data from all regions and all final states needs to be included.
m
m
g
Quarks, gluons, resonances
g
g
e+
e-
e+
e-
g
hadrons
hadrons
R-scan data
Radiative return

## Slide 9: Gold Standard:
KLOE
BaBar
g-2 theory initiative value
2-body
CMD-III
3-body
4-body
8-body

## Slide 10: Other HPV evaluations: Lattice
A promising and ambitious alternative is to calculate the QCD contribution from scratch by integrating over discrete lattice spacing and and extrapolating to the continuum limit
BMW preliminary result came out soon after the release of the original white paper.
If it is confirmed by other groups, it will be a clear indication that the QCD contribution is not under control.

## Slide 11: Higher order QCD: HLbL
Main higher order QCD contribution is hadronic light-by-light scattering.
In the past, this was based on model calculations and there have been worries about how well the model errors were under control.
Contribution is now based on the sum of several dispersive relationships.
Also now competative results from the lattice
Mainz
RBC

## Slide 12: The muon g-2 discrepancy
gm(predicted) = 2.00233183622
gm(measured) = 2.00233184182
QED
QCD
EW
After a ton of work by a ton of people, the QCD contribution and all other SM contributions are mainly unchanged
Only one thing left to do, redo the measurement!
gm(Theory Initiative) = 2.00233183620(86)
gm(QED + EW + HVPLO + HVPNLO + HVPNNLO + HLbL + HLbLNLO) =
Expect another major update once results are available from the VEP2000 experiments and the flavor factories and when the BMW lattice result is confirmed

## Slide 13: Muon g-2 technique
m
p
B
# high energy positrons versus time from the stored muon beam
m
e
p
e
Muonium and hydrogen hyperfile splitting
Free induction decay in NMR probes

## Slide 14: Storage ring technique
Main observable is the difference between the muon precession frequency and the cyclotron frequency
Developed and improved by the CERN I, II, III experiments and the BNL E821 experiment
CERN III ring
40 separate magnets
BNL: One continuous magnet
First decision: reuse BNL magnet!

## Slide 15: Right place, right time
Fermilab pre 1985
before antiprotons:
1 linac, 2 rings
Antiproton production
New synchrotron + 3 new storage rings
With the end of Tevatron Run II, these are all now available for muon physics and allow us to repeat the BNL statistics once every 4-6 weeks

## Slide 16: From NY to Illinois the hard way
Summer 2011
Summer 2013
Fall 2014

## Slide 17: Shimming
N
S
N
S
N
S
N
S
N
S

## Slide 18: More shimming

## Slide 19: The results

## Slide 20: Muon Production (above ground)

## Slide 21: Below ground

## Slide 22: Muon precession frequency measurement
V-A decay, positron follows spin direction, and highest energy positrons occur when spin and momentum vector are aligned
# high energy positrons versus time
momentum
spin
t(ms)
What data looks like if g-2 = 0
t(ms)
What data looks like if g-2 = 0.002
Direct measurement of radiative corrections

## Slide 23: Calorimeters
e+
PbF2 xtals
9x6 array of PbF2 crystals at 24 locations on the inside of the ring (54 segments at FNAL, 1 segment at BNL)
800 MSPS WFDs with 128 MB memory (400 MSPS w/64kB mem at BNL)
GPU based DAQ(18 GB/s at FNAL, 1 MB/s at BNL)
10 MHz GPS disciplined Rubidium clock with ~1ppt Allan variance

## Slide 24: Beam dynamics
Beam parameters: acceptance is different when the beam is breathing (big effect early).
not all muons are on the ideal (magic) orbit. Leads to ppm level corrections
extended and off-center beam sees non-uniformities in the field
Power spectrum of residuals to a simple cos(wt+f) fit
Must be able to measure beam parameters in different locations as a function of time to validate our model of the beam.

## Slide 25: Trackers
Doublet layers of 5mm diameter, 15mm wall thickness straws with UV layers at 7.5 degrees stereo angles
Located in front of two calorimeters at ~90 degrees and ~270 degrees.
125 mm hit resolution and sub mm resolution on beam location

## Slide 26: (Removing) Beam motion
Muon losses
Mean horizontal motion
Mean vertical motion
22 parameter fit

## Slide 27: Muon precession frequency systematics
# high energy positrons versus time
BNL 2001 run
Dominant feature:
f is the phase between the spin and momentum at the beginning of the fit.

## Slide 28: Systematics
Leading systematics come from time dependence in the phase
Taylor expansion:
Things that change “early to late” in the fill typically lead to a time dependence in the phase of the accepted sample that directly biases the extracted value of wa

## Slide 29: Systematics
Pileup: two low energy positrons fake a high energy positron
(happens early, not late)
fearly ~ f1 + f2
flate ~ f1
calo
momentum
spin
f1
Design not driven by absolute performance, but relative stability early to late
Gain change:
example: saturation (happens early, not late)
fearly ~ f1
flate ~ f2
Above thresh. early
Above thresh. late
calo
f2
f1
f2
Dw ~ Df

## Slide 30: Laser System
Highly tunable, precise laser system sends pulses to all crystals
Recovery after beam splash
Recovery between two consecutive hits
Templates tuned for each crystal
Pileup and gain systematics reduced from 180 ppb at BNL to 41 ppb

## Slide 31: Residual systematics from beam motion
So the beam is moving
early-to-late
in the fill
Towards the end of the run, a few HV feedthrough resistors broke, changing the RC time constant of the ramp

## Slide 32: Phase coupling to acceptance
Phase between the muon spin and momentum
Phase advance between decay time and detection time due to path length
If the beam is moving, this phase advance is changing
For final run period:
Phase at calorimeter depending on muon decay point
Vertical decay position
Horizontal decay position

## Slide 33: Muon precession frequency results
Run dependent corrections

## Slide 34: Muon g-2 technique
m
p
B
# high energy positrons versus time from the stored muon beam
m
e
p
e
Muonium and hydrogen hyperfile splitting
Free induction decay in NMR probes

## Slide 35: Nuclear Magnetic Resonance

## Slide 36: Field measurement
Calibration transferred to plunging probe in an MRI magnet at Argonne
Spherical absolute calibration probe
Plunging probe placed in front of all probes in a trolley
Trolley maps the field around the ring

## Slide 37: Field measurement
Trolley makes a poor beam dump so it gets parked in a garage during muon storage
Array of NMR probes are placed above and below vacuum chamber to track field changes between trolley runs
Field changes are primarily due to temperature changes in the hall that cause the steel to expand and contract, closing and opening the pole gap
Tracking is not perfect and the offsets define the systematic error

## Slide 38: Field measurement leading systematic
Muon fills are 1 ms long every 10 ms for 8 pulses followed by a long gap
NMR is much slower, is done every few seconds, and is asynchronous with bean delivery
Built in assumption is that nothing is changing faster than the NMR can see it and that nothing is correlated with the beam so that the protons and muons are seeing the same field
Transients generated in electronics outside the vacuum chamber are shielded by the vacuum chamber. But anything generated in the vacuum chamber is a problem.

## Slide 39: Quadrupole mechanical vibrations
When we synchronize NMR with beam timing, this is what we see
In regions without quads
In regions with quads
Mechanical resonance around 50 Hz, our pulse train is about 100 Hz
FNAL

## Slide 40: Transient fields during muon storage
Built new probes with PEEK shells and supports so that they could run inside the vacuum chambers while the quads are pulsing
We spent most of the COVID downtime mapping this out as well as smaller eddy currents from the kickers
Grey lines are when beam is in the ring
Correction:
Error dominated by extrapolation between measurement points

## Slide 41: Proton precession frequency results
Absolute calibration
Trolley probes
Interpolation
Convolving with muon distribution
transients
quads
Kicker eddy currents

## Slide 42: Putting it all together
The Fermilab experiment confirms the Brookhaven experiment’s result

## Slide 43: The muon g-2 discrepancy
gm(Theory Initiative) = 2.00233183620(86)
The mystery remains
gm(BNL + Fermilab) = 2.00233184122(82)

## Slide 44: Moving forward
We expect two more rounds of publications with the final data set being at least 10x larger than the current result’s data set
Systematics associated with beam motion are expected to remain being the dominant systematic
Transient fields can be reduced but not removed. Error is expected to come down with better measurements this summer
JPARC muon g-2 experiment under construction with very different systematics. Should see if there is something we are fundamentally missing in the storage ring technique.
We will take data until we need to turn the complex over to Mu2e, currently scheduled for Spring 2023. We will try and fit a m- run in

## Slide 45: Conclusions
We have not found any new physics that can explain the muon g-2 discrepancy, we continue to search
We have not found any problems with the SM calculation that could fundamentally solve the discrepancy. More data and more lattice calculations are on the way.
We have not found any problems with the BNL result and it is confirmed with a new result from Fermilab with drastically improved instrumentation. More data on the way from Fermilab and JPARC.
Any of the above has the potential to solve the mystery either by discovering new physics or by bringing the SM calculation and the experimental value closer together.
But for now, the mystery remains.
g-2 theory initiative value

## Slide 46: Backup

## Slide 47
BaBar data points are the green band. KLOE combined data points are the small pink points.
Yellow combination is pulled towards the KLOE data by the small KLOE error but is broader then expected due to the discrepancy between KLOE and BaBar data.
This is the KNT combination. The white paper combination has about a 60% boarder error.

## Slide 48: Combining the combinations
KNT: Combination of all e+e- data
DHMZ:
Central value =
½ (combination w/o BaBar + combination w/o KLOE)
Extra error = ½ difference
g-2 Theory Initiative White Paper:
Bin-by-bin Central value = ½ (KNT + DHMZ)
Bin-by-bin error = larger of the two: either KNT or DHMZ errors

## Slide 49: Other HVP evaluations: taus
CVC +
isospin
e+
e-
g
p+
p-
t
nt
p
p0
Isospin breaking corrections are currently not under control at a level that makes tau data competitive
There are ideas for using lattice to constrain the isospin breaking effects that are promising
@ Belle-II
@ ALEPH

## Slide 50
Courtesy L. Gibbons

## Slide 51
Courtesy L. Gibbons

## Slide 52
Courtesy L. Gibbons